## Slide 1
Caterina Michelagnoli
Institut Laue-Langevin
Gamma-ray spectroscopy
at a neutron beam :
the latest news from ILL

## Slide 2
Introduction: Nuclear Physics using slow neutrons
The FIPPS (FIPPS+IFIN-HH) instrument
The (n,g) experiments:
          Overview
          Nuclear deformation, shape coexistence phenomena
Outline
New setup for n-induced fission experiments
"Homeworks": possible experiments, collaborations

## Slide 3
Slow neutron induced reactions
(n,g) on stable (rare)/radioactive targets
n-induced fission on actinides
 close to stability
structure at low spin
(below n-separation energy)
 cross-sections (applications)
structure of n-rich nuclei
(far from stability)
fission yields and dynamics
The Lohengrin fission fragment separator
The GAMS spectrometer

## Slide 4
FIssion Product Prompt g-ray Spectrometer (FIPPS)
–since end 2016
"pencil-like" neutron beam + HPGe array
From the experience of EXILL (campaign, 2012-13 –M. Jentschel et al. JINST 12 (2017) P11003)
thermal neutron beam: 108 n/s/cm2 , d=15mm
High resolution HPGe clovers (2keV @ 1.4 MeV)
symmetry around target position
ancillary detectors (LaBr3, Si, …)
digital electronics, list-mode (~10kHz/crystal, triggerless)
tight casemate for handling of radioactive targets
C. Michelagnoli et al., EPJ 193 (2018) 04009

## Slide 5
High sensitivity g-ray setup @ n beam
n beam
FIPPS (8 clovers)
+ 8 IFIN-HH clovers+antiCompton
3.4x higher efficiency
in g-g-g spectroscopy
FIPPS (8 clovers)
+ LaBr3 fast timing detectors
(IFIN-HH, IKP Cologne)
picosecond lifetime
measurements
May – November 2018
March-April 2018

## Slide 6
FIPPS today
8 FIPPS ACs in addition
to the FIPPS+IFIN-HH setup
tight polycarbonate casemate to handle radioactive (actinide) targets
running n+233U at the moment !
Segmented
veto detectors (Scionix).
~30% improvement in P/T observed
(M. Barani, ILL internship)

## Slide 7
There’s not a nuclear model that explains everything!
Need to collect good data to benchmark different regions of the nuclear chart

## Slide 8
# neutrons
# protons
(n,g) on stable (rare) and radioactive targets
41,44Ca
61,63,64Ni
176Lu
160Gd
149Sm
205Tl
205,206Pb
96,97,98Mo
115,117,119Sn
99Ru, 123,125Te
111Cd
13C
167Er
145Nd
175Lu
146Nd
lifetime measurement technique (gas target)
Milan, Krakow
IFIN-HH
TU-Darmstadt
CSNSM, Univ. Guelph
Warsaw
Milan
Milan, ILL
Milan, IFIN-HH
Manchester
ILL
IKP Cologne
IKP Cologne
CEA B. le Chatel

## Slide 9
205Tl(n,g)206Tl reactions
neutron flux 108n/(s  cm2)
1.9-g target of 205Tl (99.9% enriched)
221 hours of measurements
205Tl
0
6.5 MeV
0
Capture state at neutron binding energy
1/2+
(0+,1+)
0–
8 HPGe clovers of FIPPS array (32 crystals) – coincidence measurements of gamma rays
206Tl
We expect to populate the states with spins values from 0 to 3
206Tl
208Pb
Nuclear structure around 208Pb
N. Cieplicka et al.

## Slide 10: g-coincidence analysis
5016
851
1182
635
1182
851
330
305
330
206Tl
21 excited states (8 new)
22 primary transitions (10 new)
1487
gg coincidences: gate 4659 keV
ggg coincidences: gate 5016-305 keV
N. Cieplicka et al.

## Slide 11
M1
?
649
5853
0+,1+
1 –
0 –
E1
649
206Tl
Angular correlations of g rays
E1 0+  1–
E1 1+  1–
N. Cieplicka et al.

## Slide 12: Shell-model realistic calculations for 206Tl (A. Gargano)
protons
132Sn
208Pb
3s 1/2
2d 3/2
1h 11/2
2d 5/2
1g 7/2
3p 1/2
2f 5/2
3p 3/2
1i 13/2
2f 7/2
1h 9/2
Realistic interactions derived from the nucleon-nucleon potential, making use of the Vlow-k approach, were used. (thanks to prof. Angela Gargano, INFN Napoli)
protons
neutrons
s1/2
d3/2
h11/2
d5/2
g7/2
p1/2
f5/2
p3/2
i11/2
h9/2
f7/2
neutrons
206Tl MULTIPLETS
206Tl
THEORY
N. Cieplicka et al.

## Slide 13
Nuclear shape coexistence
Follow the evolution of shape coexistence and shape isomerism in the nickel isotopes:
joint IFIN-HH and ILL experimental program
64Ni(n,g)65Ni (enriched target)
M.Sferrazza et al., C. Porzio master thesis
63Ni(n,g)64Ni (radioactive target)
N. Marginean et al., to be scheduled 2019
61Ni(n,g)62Ni (enriched target)
C. Mihai et al., to be scheduled 2019
Preliminary, courtesy of S. Leoni
FIPPS data
(March 2018)
IFIN-HH data
Prolate states only seen in capture ?
66Ni: S. Leoni et al., PRL118 (2017) 162502
T. Otsuka et al., JPG43 (2016) 024009
Monte Carlo Shell Model calculations (MCSM)

## Slide 14
Collectivity of the 2p-2n intruder band in 116Sn
Lifetime of the 4+2 state measured with fast-timing technique at FIPPS
C. Petrache et al., Phys. Rev. C 99 (2019) 024303
03+ state lifetime
HPGe vs LaBr3 spectra
Systematics of Sn first excited states, evidence for deformed band built on intruder states. Comparison with IBA2 calculations.

## Slide 15
The Gamma Ray Induced Doppler Shift Attenuation (GRIDSA) technique
  Measurement of very short lifetime in the range of a few up to a few hudreds of femtosecond by means of an array of HPGe detectors
  Samples in the milligram range
  Coincidences eliminate uncertainty from feeding
  Two step cascade after thermal neutron capture measured in coincidence
*See e.g.: V. T. Kupryashkin et al., AN SSSR, Ser. Fiz. Vol 53 (1989) 2
T. Khan, et al. Nucl. Instr. Meth. A 385 (1997) 100-107
The GRIDSA Technique
F. Crespi et al.

## Slide 16
Extraction of the Lifetimes from the Experimental Data
Experimentally determined values of Ei,j(θ) for the 4 analyzed γ transitions
The data were fitted using the analytical expression based on the exponential slowing down model
The slowing down times were determined from MD-simulations with the KrC potential
The thin lines indicate the variation within the error bar
F. Crespi et al.

## Slide 17
161Gd spectroscopy @ FIPPS
Common interest for fundamental research and radioisotope production
160Gd(n,γ)161Gd
161Gd (N=97)
nuclear structure:
deformed Nilsson orbitals around N=96
and search for scissor modes
protons
neutrons
CM et al., performed experiment
PET SPECT SPECT
161Tb is ideal for targeted radionuclide therapies
160Gd(n,γ)161Gd cross section measurement and 161Gd gamma-ray spectroscopy at FIPPS
H. Uusijärvi et al., J. Nucl. Med. 47 (2006) 807
Sn=5635 keV
Gate on 2057 keV
160Gd(n,γ)161Gd, 50mg target, 30 min data
164 keV
new

## Slide 18
Spectroscopy of fission fragments: a challenge!
More than 150 nuclei emitting g rays at the same time (excited fission fragments and b-decay products)
Fission populates exotic nuclei with
an « excess » of neutrons important for:
understanding of nuclear structure far from stability
modeling of the fission mechanism
nuclear properties along r-process path
J. Dudouet et al. : Particle-core excitations at N=50
W. Urban et al. : Deformation at N=59
F. Crespi et al. : Octupole vibrations in 132Sn
T. Materna et al. : Influence of fission partner in gamma ray cascades from fission fragments
L. Iskra et al. : Structure of 92,94Y
N. Redon et al. : Structure of n-rich Br isotopes
First 235U(n,f) campaign at FIPPS+IFIN-HH
(Sept-Oct 2018):

## Slide 19
Active fission target @ FIPPS+IFIN-HH
FILL2030 postdoc project
235U diluted in
liquid scintillator
F. Kandzia, G. Bélier, et al.
Qlong
(Qlong –Qlong)/Qlong
PSD (Pulse-Shape-Discrimination)
b, a
fission

## Slide 20
Coincidences with 2+0+ (1313 keV) and 4+2+ (381 keV) transitions in 136Xe.
136Xe
97-99Sr
136Xe
136I (b-)136Xe
98Sr
99Sr
?
(30 days)
(35 days)
September-October 2018
Examples of b-induced background suppression

## Slide 21
EXILL vs FIPPS
L. Iskra et al.

## Slide 22
Shape evolution in the Y isotopic chain
No sudden onset of deformation at N = 60 but gradually decrease in energy !?
L. Iskra et al.

## Slide 23
Double target cell (downstream + upstream)
2 optically separated volumes
=> increasing fission rate w/o increasing pile-up
Adapted for manipulation in glove box
U-235 test run (2019 June 17-23)
U-233 run (2019 June 24-ongoing)
Now running 233U(n,f)
F. Kandzia, R. Pommier

## Slide 24
First ~20h statistics
Check 142Ba – 90Kr coincidences (yesterday at 18h  -- ACs to be added in this analysis)
M. Barani, J. Dudouet, J. Wisniewsky, …
Energy [keV]
counts
Selection on fission tag
Gate on 142Ba 2+  0+ (359 keV)
142Ba
90Kr
Mass ~100 favoured in 233U(n,f) vs 235U(n,f)
Complementary data
Fission tag necessary for the analysis of the data of interest for fission models

## Slide 25
Nuclear Fission: how does it work?
Fission dynamics and generation of excitation energy and angular momentum
bending
wriggling
friction
superfluidity
A. Bulgac et al., PRL 116 (2016) 122504
"neck mechanisms"
microscopic
Energy [MeV]
Angular momentum (J) [hbar]
0+
2+
4+
6+
8+
P(8)
P(6)
P(4)
P(2)
P(0)
Spin and excitation energy distributions from prompt γ rays
geometry
0
2
4
6
8
10
0
5
10
Bn
fission fragment, Ex
n emission
g decay
A. Chebboubi et al., PLB 775 (2017) 190 (LOHENGRIN)

## Slide 26
FIPPS phase 2: HPGe array+GFM
Gain of order of magnitudes in sensitivity for fission studies and spectroscopy of n-rich nuclei using a Gas-Filled-Magnet (GFM) separator
just received feasibility studies from companies
(HTS technology)
1/R field (B(1.2m)=1T, Bmax <1.7T, dB/B~1%)
Y focusing  large acceptance (~60 msr)
same B for all trajectories
 good dispersion (2.1 cm/%)
"complex pole shape" (Thales circles)
 horizontal focusing independent
from trajectory
ionization chamber at focal position
for Ekin measurement
Thales of Miletus, 600 bc
H. Faust, Y-H. Kim, …

## Slide 27
Rich Nuclear Physics program at ILL using FIPPS/FIPPS+IFIN-HH (shape coexistence, intruder structures, … ) using slow-neutron induced reactions
235U(n,f) and 233U(n,f) with fission tag: new spectroscopic info on n-rich fission fragments is now available trough multiple gamma-ray coincidences analysis (data are open for LoI)
 bridge for the science program at FIPPS phase 2
(HPGe detectors+GFM fragment separator)
Next ILL proposal submission deadline: September 2019
 “all targets can be used at FIPPS” (or, at least, many… ask myself or Ulli K.)
 interest already expressed for transuranium target (245Cm)
The physics program and detector developments at FIPPS depend on your input! Hope to see you all soon at ILL!
Concluding remarks

## Slide 28: A new chamber for a 245Cm target
245Cm target :
  a single wall vacuum chamber is sufficient
Environment | Consequence | Constraints for the chamber
Vacuum chamber | / | Vacuum resistance
To be a confinement barrier | / | Tightness Resistance to a 1 m fall
Beam neutron | low | 
γ spectrometer | Low γ attenuation | Z<30
α particles emission from 245Cm decay | Presence of 5.5 MeV energy α particles | Stops 7 MeV energy α particles
Environment | Consequence | Constraints for the chamber
Vacuum chamber | / | Vacuum resistance
To be a confinement barrier | / | Tightness Resistance to a 1 m fall
Beam neutron |  | 
γ spectrometer | Low γ attenuation | Z<30
α particles emission from 245Cm decay | Presence of 5.5 MeV energy α particles | Stops 7 MeV energy α particles
Final choice : Magnesium cylinder chamber of 44 mm diameter and 2mm wall-thickness, closed by Zirconium foils of 44mm and 0.2mm thickness
(C. Duthoit,
ILL internship)

## Slide 29
Many thanks to all the collaborators:
F. Kandzia, U. Köster, YH. Kim, H. Faust, M. Thomas,
E. Ruiz-Martinez, P. Mutti, M. Barani, C. Duthoit,
D. Reygadas, M. Jentschel
ILL
N. Marginean, C. Mihai, R. Lica, S. Pascu, A. Turturica, …
IFIN-HH
J. Dudouet, …
IPNL Lyon
S. Leoni, F. Crespi, L. Iskra, …
Univ. and INFN Milano
T. Materna
CEA Saclay
G. Bélier, J. Aupiais
CEA B. le Chatel
G. Kessedjian, …
LPSC Grenoble
…
Caterina Michelagnoli, mailto: cmichela@ill.fr

## Slide 30
160Gd(n,g)161Gd
Single detector, 15min
Energy [keV]
163.7 keV, 161Gd
181.9 keV, 158Gd
(transitions verified in coincidence data; from which one sees that the one in 161Gd is a doublet belonging to 161Gd, I fitted as double gaussian )
From this spectrum I get:
3270 (311) 161Gd
3581 (277) 158Gd

## Slide 31
Target mounted in Li-plastic support

## Slide 32
Examples of b-induced background suppression
Coincidences with 2+0+ (974 keV) and 4+2+ (697 keV) transitions in 132Te.
132Te
101-103Zr
132Te
132Sb (b-)132Te
102Zr
101Zr
?
(30 days)
(35 days)
September-October 2018

## Slide 33
Fission Tag – Options
Thin film scintillators
  Scintillator foils O(10) μm
  Fission fragment (FF) identification by dE/dx (when crossing foils)
  or energy threshold (when stopping in foils)
Diamond detectors
  Solid state ionization chamber
  Radiation hard, fast response
  Under development (LPSC Grenoble)
Liquid scintillator (LS)
  Actinide directly dissolved in LS
  => selected for first realization
[USAppliedDiamond.com/products/detectors/]

## Slide 34
actinide in homogeneous solution
=> homogeneous stopping of fission fragments
LS developed at CEA Bruyères-le-Châtel
(Bélier et al.)
Pulse Shape Discrimination for strongly ionizing particles
Principle verified in spontaneous fission studies:
[G. Belier et al., NIM A 664, 341],
[G. Belier et al., PRC 98, 034612]
Liquid Scintillator Target
[G. Knoll, Radiation Detection and Measurement, Wiley & Sons]
[G. Belier]
[G. Belier et al. PRC 98, 034612]

## Slide 35
1- alu frame, 2&5- sapphire windows (0.2 mm), 3- PTFE spacer (0.5 mm) w/ capillaries, 4- PTFE backing w/ reflective foil, 6- PTFE washer
Constraints for FIPPS:
  minimal γ-ray background
    small neutron scattering and absorption cross sections
    minimal material content
  chemical compatibility with LS
  minimal γ-ray attenuation
  efficient scintillation light readout
  radiological safety requirements
    safe handling
    tightness
    protective vacuum
Design of the Liquid Scintillator Target
26 mm

## Slide 36
Light Guide and Vacuum System
Light guiding system:
Specular reflective tubes
  DF2000 from 3M
  metal free polymer foils
  ~99% reflectivity
Mirror foil
  intersecting beam under 45°
  aluminised mylar
Vacuum chamber
carbon fiber
layer thickness: 2 mm
PMT viewport
PMT
Reflective tubes
Mirror foil
Li-tubes
Active target
Vacuum chamber
n

## Slide 37
Fission - Beta-decay Discrimination
fission rate 12 kHz
coincidences PMT- γ – γ: 10 kHz
total: 1.5E11 fission tagged γ – γ coinc.
(36 days, Sep-Oct 2018)
good separation in energy
moderate separation in
PSD = Qtail/Qtot
Fission detection efficiency: prel.: 85%(?)
Fission mis-identification: 0.3%
β-mis-identification: ~0.4%
Limitation: pile-up on PMT
I – fission events
II – β-decay events
III – pile-up fiss.-fiss.
IV – pile-up β- β
V – pile-up fiss.- β
VI – pile-up β -fiss.
VII – incorrect event reconstr.
VIII – tail w/ fiss. characteristics
Fission
Background

## Slide 38
Time Stability
Drift of PMT signal:
  PMT deterioration
  => compensation via HV adjustment
  Aging of scintillator
Evolution of fission- β separation:
FoM = (μfiss – Min)/σfiss: 2.84 -> 2.79
21/9 28/9 5/10 12/10 19/10
Date [DD/MM]
21/9 28/9 5/10 12/10 19/10
Date [DD/MM]
Min
μfiss

## Slide 39
Active Target Gamma Spectra
Te-134 – 1279 keV
Fig.: γ -spectrum, total projection, multiplicity ≥2
Bgd dominated by Al:
  sapphire windows (Al2O3)
  scattered neutrons in frame
strong bgd suppression by fission tag
already in total projection
Al-28 – β-
Al-27(n,g)
*1/20

## Slide 40
Nuclear fission: how does it work?
Different mass and charge distributions for different fissioning systems
A. Andreyev et al., Rep. Prog. Phys. 2017
Fission is a lazy process…
liquid
drop
model
single
particle
effects

## Slide 41
Nuclear shape coexistence
The nickel isotopes: Z=28 (magicity)  spherical in the g.s. Still different shapes are predicted at low excitation energies
T. Otsuka et al., JPG43 (2016) 024009
p-n interaction due to tensor force  nuclear deformation in a spherical nucleus
Monte Carlo Shell Model calculations (MCSM)

## Slide 43: Comparison of the branching ratios in 206Tl with shell-model calculations
Interaction Matrix
Strong configuration mixing:
Non-diagonal matrix elements
come into play
N. Cieplicka et al.

## Slide 44
MULTIPLET
Comparison of the branching ratios in 210Bi with shell-model calculations
N. Cieplicka et al.

## Slide 45
Interaction Matrix
protons
neutrons
s1/2
d3/2
h11/2
d5/2
g7/2
p1/2
f5/2
p3/2
i11/2
h9/2
f7/2
protons
neutrons
h9/2
f7/2
i13/2
f5/2
p3/2
p1/2
g9/2
h11/2
j15/2
d5/2
s1/2
g7/2
d3/2
Hole-hole and particle-particle interactions around 208Pb
206Tl MULTIPLETS
210Bi MULTIPLETS
N. Cieplicka et al.

## Slide 46: Angular correlations of g rays
1 –
206Tl
3 –
(1,2 )
(2 –)
(1 –)
(0–)
(1 –)
(2 –)
(1 –)
(1 –)
0+, 1+
0 –
(1 –)
1360
1487
801
2–
(1 –)
(1 –)
(2 –)
(2 –)
2 –
N. Cieplicka et al.

## Slide 47: g-coincidence analysis
206Tl
305
gg coincidences: gate 305 keV
N. Cieplicka et al.

## Slide 48: g-coincidence analysis
gg coincidences: gate 4659 keV
305
4659
266
1843
1844
1578
266
305
649
1208
1194
1042
649
206Tl
gg coincidences: gate 305 keV
N. Cieplicka et al.

## Slide 49
1 keV
Relative Angle between Ge Crystals (deg)
Peak Centroid (keV)
Experiment performed at ILL with FIPPS: “Test of the Gamma Ray Emission Induced Doppler Shift technique to measure fs lifetimes after (n,g) reactions” (From : 29/01/17 To : 06/02/17) (F. Crespi, M. Jentschel)
Short lifetime   Long Lifetime
Some Preliminary Results (FIPPS data)
F. Crespi et al.

## Slide 50
Are the any examples of quadrupole spherical vibrators?
The text-book cases have been recently revised thanks to recent measurements
Deformed structures that co-exist with the vibrational one, based on 2p-2h intruder configurations close to N=50
Difficult assessment due to the lack of observation of the linking transitions
P. Garrett (Univ. Guelph) et al. performed and accepted experiments at FIPPS

## Slide 51
First evidence of deformed structures based on intruder states in the Te isotopes
preliminary, courtesy of P. Garrett

## Slide 52
Nuclear shape coexistence
First evidence of shape isomerism in a light system.
S. Leoni et al., PRL118 (2017) 162502
Lifetime measurements of excited 0+ states after 2-n transfer reactions at IFIN-HH
T. Otsuka et al., JPG43 (2016) 024009
Monte Carlo Shell Model
calculations (MCSM)

## Slide 53
Energy [keV]
counts
FIPPS+IFIN
FIPPS
134Te
134Te
100Zr
100Zr
100Zr
Gate on 2+ 0+ in 134Te