## Slide 1
The ν-ball project at ALTO
Jonathan Wilson, Matthieu Lebois,
Nikola Jovancevic, Liqiang Qi, Damien Thisse
IPN Orsay

## Slide 2: The ALTO facility
15 MV
ALTO typically delivers ~3000 hours of beam time per year
Trans National Access Facility
(ENSAR2, ARIEL)
ALTO international PAC

## Slide 3
The ν-ball spectrometer @ ALTO
24 Clover Ge + BGO
10 Coaxial Ge + BGO
20 LaBr3
or 36 PARIS phoswich
v-ball international collaboration
153 researchers from 16 countries and 37 institutes, including 80 Ph.D students
ν-ball experimental campaign
Nov. 2017-June 2018. 10 experiments 3200 hours of beam time
Innovations
Hybrid Spectrometer (Ge/BGO/LaBr3)
high resolution, high efficiency
Coupling with the LICORNE directional neutron source
Calorimetry for reaction studies/selection
Fully digital, 200 channels, including BGO
Modes Triggered or Triggerlesss

## Slide 4
To understand the detailed nuclear structure of very neutron-rich isotopes far from nuclear stability
To study precisely fast-neutron-induced nuclear fission using new techniques to extract new observables and new correlations
To further develop state-of-the art fast timing techniques to measure sub nanosecond lifetimes, study nuclear isomerism, extract nuclear moments
To facilitate diverse spectroscopy experiments proposed by the national and international users of the ALTO facility
What physics questions does ν-ball address?

## Slide 5: 153 researchers from 16 different countries, 37 instutitues, including ~80 thesis students
The ν-ball International Collaboration
UK(29)
University of Surrey (13)
National Physical Laboratory (5)
University of Brighton (2)
University of West Scotland (4)
University of Manchester (3)
University of York (2)
France(44)
IPN Orsay (16)
CSNSM Orsay (6)
CEA DAM/CEA Saclay (5)
Subatech, Nantes (3)
CENBG Bordeaux (6)
IPHC Strasbourg (3)
GANIL (2)
LPC Caen (2)
ILL (1)
Germany(16)
TU Darmstadt (7)
IFK- Koln (9)
Spain(6)
Madrid (4)
IFIC Valencia (2)
Italy(8)
University of Milano(6)
University of Padova(1)
Legnaro(1)
Bulgaria(8)
University of Sofia (8)
Poland(14)
IFJ-PAN Krakow (8)
University of Warsaw (6)
Canada(4)
University of Guelph (4)
Romania(7)
IFIN-HH, Bucharest (1)
ELI-NP, Bucharest (6)
South Africa(1)
iThemba (1)
Norway(6)
University of Oslo (6)
Japan(1)
Riken(1)
Serbia(2)
University of Novi Sad (1)
University of Belgrade (1)
Belgium(4)
JRC-Geel (3)
Leuven (1)
India(1)
Tata Institute (1)
Finland(2)
Jyvaskyla(2)

## Slide 6
The ν-ball core team and local support

## Slide 7
Heavy Ion Reaction g spectroscopy:
Half-life measurement and isomer spectroscopy in the neutron-rich deformed nucleus 166Dy (1 week)
Electromagnetic transition rates in the nucleus 136Ce (1 week)
Pinning down the structure of 66Ni by 2n- and 2p-Heavy-Ion transfer reactions and g-factor measurement (2 weeks)
A study on the transition between seniority-type and collectivity excitations in the YRAST 4+ state of 206Po (1 week)
Measurement of the super-allowed branching ratio of 10C (2 weeks)
Feeding of low-energy structures of different deformations by the GDR decay: the nuBall array coupled to PARIS (1 week)
Neutron induced reaction g spectroscopy:
Spectroscopy of the neutron-rich fission fragments produced in the 238U(n,f) and 232Th(n,f) reactions (5 weeks)
Spectroscopy above the shape isomer in 238U (2 weeks)
ν-ball experimental campaign (Nov. 2017-June 2018)
3200 hours of beam time delivered

## Slide 8
Fission studies
Detailed structure of neutron rich nuclei
Sub nanosecond timing
GDR studies: ν-ball coupled to PARIS
The ν-ball experimental campgain highlights

## Slide 9
Fission Studies with LICORNE/v-ball

## Slide 10
LICORNE/ν-ball coupling principle

## Slide 11
LICORNE/ν-ball coupling principle
Primary beam
2 x 1011 /s
7Li (16 MeV)
H2
1.5 MeV neutrons
Secondary beam
2 x 107 /s
3 x 1020 atoms/cm2
238U
232Th
Sample
Target
105 fissions/s
~100 g

## Slide 12
Expt. | Target mass | 7Li Current | En | Fission Rate | Time | Data | Total Fissions
252Cf(SF) | - | - | - | 3 kHz | 2 days | 50 Gb | 5.2×108
238U(n,f) | 81 g | 10 nA | 1.7 MeV | 8 kHz | 9 days | 11 Tb | 6.0×109
232Th(n,f) | 129 g | 80 nA | 1.7 MeV | 26 kHz | 19 days | 80 Tb | 4.0×1010
238U(n,f) | 81 g | 100 nA | 3.4 MeV | 28 kHz | 7 days | 25 Tb | 1.7×1010
Summary of ν-ball/LICORNE fission experiments:

## Slide 13
Anomalies in the charge yields of fission fragments from the 238U(n,f) reaction
J.N. Wilson, M. Lebois, L. Qi et al.,
Phys. Rev. Lett. 118, 222501 (2017)

## Slide 14
238U(n,f) Fission Fragment Selection

## Slide 15
Ge Time (ns)
Gamma Multiplicity
Sum Energy (MeVx10)
Ge Energy (keV)
ν-ball timing
and calorimetry

## Slide 16
Gamma multiplicity distribution
Gamma sum energy distribution
Average gamma multiplicity
Average total gamma energy
High energy gamma spectrum
Average neutron multiplicity
New Fission Observables and Correlations
Correlated with detected fragment (and partners)
252Cf, 238U(n,f) and 232Th(n,f)
LaBr3 Time
Prompt neutrons: (n,n’γ) events
LaBr3 Energy (keV)

## Slide 17
238U(n,f) Gamma Multiplicity Distributions correlated with A/Z

## Slide 18
Average gamma multiplicities

## Slide 19
Average gamma multiplicities

## Slide 20
Detailed nuclear structure of neutron-rich nuclei

## Slide 21
Exotic Nuclei Production/Study from Fission Reactions
Exoticity
Spontaneous Fission
252Cf(SF), 248Cm(SF)
(Gammasphere, Euroball)
Fission induced by thermal neutrons
235U(nth,f) 241Pu(nth,f) (EXILL Exogam@ILL)
Fission induced by fast ~2 MeV neutrons
238U(n,f), 232Th(n,f)
(LICORNE @ IPN Orsay)
Too hot!

## Slide 22
Spectroscopy above 78Ni
M. Lebois (Zn, Ge, Ga)
B. Fornal (Ge,Ga)
A. Korgul (Ge,Se)
Shape coexistence around N=60
Blahzev (Kr)
G. Georgiev (Rb)
D. Ralet (Sr)
L. Iskra (Y)
S. Bottoni (Sr,Zr)
P. Regan (Zr)
Neutron-rich nuclei around 132Sn
S. Leoni (Sn,Sb)
L. Fraile (Sn,Sb,Te)
R. Lozeva (Sb,Te,I)
Onset of deformation
T. Kroll (Xe)
G. Benzoni (Ba,Ce,Nd)
C. Schmitt (All)
M. Fallot (Many)
C. Schmitt and J.N. Wilson (All isotopes)

## Slide 23
80Ga
13
81Ga
4
82Ga
1
82Ge
5
83Ge
5
84As
6
86Se
3
94Kr
3
84Ge
3
85Ge
1
86Ge
0
86As
0
85As
0
87As
0
88As
0
87Se
0
88Se
1
89Se
0
90Se
0
89Br
0
90Br
0
91Br
0
95Kr
2
96Kr
2
93Kr
5
92Br
8
91Se
0
> 1%
0.1 – 1 %
0.01% - 0.1%
Yield
1
Number of known excited states
Production and study of neutron-rich nuclei above 78Ni with LICORNE/nu-ball
232Th(n,f) reaction products
78Ni
2
“78Ni revealed as a doubly magic stronghold against nuclear deformation”
R. Taniuchi, et al. Nature, volume 569, pages 53–58 (2019)

## Slide 24
~132
96Sr
98Sr
J. Dudouet et al.
PRL 118, 162501 (2017)
96Kr Low-Z boundary of the Island of Deformation at N=60
94Kr
95Kr
96Kr
95Rb
96Rb
97Rr
96Sr
97Sr
98Sr
N= 60

## Slide 25
(courtesy of R-B. Gerst)
T. Rzaca-Urban et al.
Eur. Phys. J. A9, 165–169 (2000)
94Kr recent RIKEN Big RIPS data
666
854
1001
v/c = 0.6
Previous results confirmed
238U + Pb @ 350 MeV/A
248Cm(SF)

## Slide 26
AGATA/VAMOS@GANIL
9Be(238U,f)
ν-ball/LICORNE@ALTO
238U(n,f)
(courtesy of J. Dudouet)
v/c = 0.1

## Slide 28
94Kr
ν-ball/LICORNE 238U(n,f) data
(preliminary)
T1/2 = 31 (3) ns
Kπ = 9− = n11/2- [505] ⊗ 7/2+ [404]
Kπ = 7− = n11/2- [505] ⊗ 3/2+ [411]

## Slide 29
Above the isomer in 94Kr

## Slide 30
Sub nanosecond timing

## Slide 31
M. Rudigier, P. Walker et al., University of Surrey
Submitted to Physics Letters B.
Multi-quasiparticle sub-nanosecond isomers in 178W
476(44)ps
275(65)ps
18O + 164Dy -> 178W + 2n
@ 72, 76 and 80 MeV

## Slide 32
Lifetime of the 11- state

## Slide 34
Hinderance factors in context

## Slide 35
GDR studies: ν-ball coupled to PARIS

## Slide 36
Feeding of low-energy structures by GDR decay using coupled ν-ball and PARIS detectors
M. Kmiecik, M. Ciemała, A. Maj, B. Fornal, P. Bednarczyk, N. Cieplicka-Oryńczak, Ł. Iskra, K. Mazurek, M. Matejska-Minda, B. Wasilewska, et al. IFJ PAN Kraków, Poland;
F.C.L. Crespi, A. Bracco, F. Camera, S. Leoni, S. Ceruti et al. INFN Milano and Milano University, Italy; J. Wilson, M. Lebois, I. Matea, D. Thisse et al., IPN Orsay, France; P. Napiorkowski, M. Kicińska-Habior et al., Warsaw University, Poland; O. Dorvaux, Ch. Schmitt, J. Dudek et al., IPHC Strasbourg, France; I. Mazumdar, V. Nanal et al, TIFR Mumbai, India; And the PARIS Collaboration

## Slide 37
The idea
High-energy γ rays from 192Pt* CN decay in 4n channel in coincidence with low-energy transitions in 188Pt
Gate on transitions
S. Mukhopadhyay et al., Phys. Lett. B 739, 462 (2014)
GDR strength functions for CN decaying to particular states of 188Pt
How the deformation changes along the decay path?
β=0.16 and γ=−40°
triaxial
β =0.18and γ=−6°
near prolate

## Slide 38
High-energy γ rays from 192Pt* CN decay in 4n channel in coincidence with low-energy transitions in 188Pt
Gate on energy subregions in GDR
S. Mukhopadhyay et al., Phys. Lett. B 739, 462 (2014)
How the GDR feeds low energy structures?
transitions yield as a function of GDR energy
The idea

## Slide 39: Set-up
ν-ball array: 33 Clovers +10 Coaxial HPGe
coupled to 33 PARIS detectors:
11 CeBr:NaI phoswiches,
22 LaBr3:NaI phoswiches.
Triggerless DAQ by FASTER digitizer
ν-ball
PARIS

## Slide 40: Reaction
Yields of residual nuclei |  | 
Name | Percent | Cross-section (mb)
186Pt | 5.2% | 36.98
188Pt | 14.8% | 104.78
187Pt | 79.0% | 558.84
187Ir | 0.3% | 2.05
184Os | 0.7% | 5.14
18O + 174Yb → 192Pt
Beam energy: 90 MeV
E* = 59 MeV
Lmax = 38 ħ
Target thickness: 1.5 mg/cm2
Yields of residual nuclei with condition Eg > 10 MeV | 
Name | Percent
189Pt | 15%
188Pt | 75%
187Pt | 10%
GEMINI++ calculations
coincidence with GDR

## Slide 41: γ-γ matrix
266 keV
~20% of the data

## Slide 42: Gate on high-energy γ rays
Gating on high-energy γ rays in PARIS – more 4n decay events selected
[Preliminary]

## Slide 43
ν-ball2 campaign forseen 2021 - 2022
ν-ball/LICORNE
Improve fission technique: Reduce gamma backgrounds from
the source and intrinsic target activity. More primary beam.
Low density targets for DPM lifetime measurements. 252Cf IC
ν-ball/Fast Timing
24 clovers coupled with 40 FATIMA for best hybrid array performance. Lifetime measurements 10-ps 10ns range for weakly populated states
ν-ball/PARIS
GDR studies. High energy gamma detection for light nuclei (ALTO high intensity 6,7Li, 14C beams)
ν-ball/OUPS plunger and/or charged particle detector
RDM lifetimes
New Configurations

## Slide 44
The ν-ball2 International Workshop
JRC-Geel, European Commission, Belgium, November 2018
ν-ball2 campaign in 2021 and 2022 will be defended as an official in2p3 project before the scientific council of the in2p3 (26/06/19)

## Slide 45
Core Team: M. Lebois, D. Thisse, N. Jovancevic, D. Etasse, J.N. Wilson,
M. Rudigier, R. Canavan, R-B. Gerst
P. Regan, Z. Podloyak, M. Rudigier, S. Jazwari (University of Surrey)
M. Bunce, A. Boso, (National Physical Laboratory, UK)
T. Kröll , M. Treskow, C. Henrich, J. Wiederhold, I. Homm (TU Darmstadt)
A. Blazhev, N. Warr, C. Surder (University of Köln)
L. Fraile, V. Vedia, J. Benito, V. Sanchez (University of Madrid)
S. Oberstedt (JRC Geel, European Comission)
A. Maj, M. Kmiecik, M. Ciemala, B. Fornal, B. Wasiewska (IFJ PAN, Krakow)
S. Leoni, L. Iskra, G. Benzoni, S. Bottoni, C. Porzio, S. Zilliani (University of Milano)
A. Korgul, K. Miernik, M. Piersa, E. Adamska (Warsaw)
R. Lozeva, Guilaume Häfner, A. Lopez-Martens, R. Chakma (CSNSM Orsay)
S. Siem, W. Paulson, D. Gjestvang, F. Zeiser (University of Oslo)
B. Blank, J. Giovinazzo, S. Grevy, P. Ascher, T. Kurtukian (CENBG Bordeaux)
M. Fallot, L. Lemur (Subatech)
P. Davies (University of Manchester)
C. Schmitt, S. Courtin, M. Heine (IPHC Strasbourg)
A. Algora (Valencia)
and the PARIS and FATIMA collaborations
Thank you to all the Collaborators

## Slide 47
Failure diagnostic
Pumping
Annealing (80°C)
FET replacement (Clean room required)
HV Filter replacement
Charge preamplifier test and replacement
Replace ORTEC’s obsolete preamplifier by Canberra material
Components are expensive
HV Filter - 860 euros
FET - 180 euros
Preamplifier - 1600 euros
Operations
New technique developed in
2018 to replace Preamplifier
components rather than whole board
Timeline was very tight
11 detectors were repaired during the campaign. 25 FET’s replaced.
ν-ball Ge detector maintenance

## Slide 48
First preliminary results: 252Cf ionisation chamber + ν-ball
ν-ball calorimetry
252Cf fission events
152Eu beta decay events
γ multiplicity
Sum Energy
γ multiplicity

## Slide 49
First preliminary results: ν-ball calorimetry

## Slide 50: First preliminary results: 252Cf ionisation chamber + ν-ball
RIKEN
ν-ball
164Gd isomer identified after only 48 hours of data
< 0.01% of the total yield
Decays from states above the isomer observed for the first time
Isomer in 164Gd discovered at BIGRIPS focal plane in 2017
Prompt decays impossible to observe

## Slide 51
Coulomb barrier
Centrifugal barrier
protons
neutrons
V
distance
distance
Proton
radioactivity
Neutron
radioactivity
(?)
The search for neutron radioactivity

## Slide 52
g decay
Neutron radioactivity
high-spin isomer
neutron-emission
threshold
g.s.
n
A-1X
AX

## Slide 53
82
50
126
terra incognita
2
4
6
0
8
neutron separation
energy
MeV
2
4
6
0
8
neutron separation
energy
MeV

## Slide 54
Occurrence of microsecond isomers
in the known nuclei
Neutron number
Proton number
208Pb
78Ni
132Sn
A.K. Jain, B. Maheshwari, S. Garg, M. Patial, and B. Singh
ATLAS OF NUCLEAR ISOMERS
Nuclear Data Sheets 128 (2015) 1–130
Potential existence of isomers
lying above neutron-separation energy

## Slide 55
Spontaneous fission of 248Cm
Thermal neutron induced fission
of 235U
Yields of products
from the fast-neutron
induced fission of 232Th
232Th