## Slide 1
Status and Perspectives of AGATA
    AGATA status and achievements
    Memorandum of Understanding
    Physics case – White book
    Future host laboratories
    Project definition
Peter Reiter
Institute of Nuclear Physics, University of Cologne
AGATA collaboration meeting
Orsay 27.6. – 28.6.2019

## Slide 2: The AGATA 4p promise Unprecedented detection sensitivity
Improved conditions for in-beam g-ray spectroscopy
  energy resolution
  → Doppler effects
  detection efficiency at high energies
  line shape
  → escape line suppression
  1st interaction point
  → angular distributions
  2nd interaction point
  → polarization sensitivity
  lifetime measurements
  → continuous DSAM
  → 2d line shape fit
  g-ray imaging
  → back ground suppression

## Slide 3: From the Demonstrator to AGATA 1p
LNL: 2009-2011 15 crystals (5TC)
Total Eff. ~6%
GSI: 2012-2014 24 crystals (3DC+6TC)
Total Eff.~9%
GANIL: 2014-2021 45 crystals (15 TC)
Total Eff. ~15%
AGATA @ G1
Demonstrator + PRISMA
AGATA + FRS
>45 crystals in ATCs available in June 2019

## Slide 4
AGATA g-ray tracking
Reconstructed initial gamma rays with: - gamma ray energy
- 1st interaction position → Doppler correction
- 2nd interaction position → Polarization
B. Alikhani, NIM A, 675(0):144 (2012)
P.G. Bizzeti et al., Eur. Phys. J. A (2015) 51: 49
.

## Slide 5: AGATA scientific results: technical publications
89 publications
https://www.agata.org/

## Slide 6
LNL EXPERIMENTS: 20 exps, 148 days, 3500 hs
PRISMA
Notes: 6
Over all 20 exps have been run, ranging from n- to p- rich nuclei from the light
15O and 21Ne up the spectroscopy of heavy Actinides. A variety of ancillary
detectors have been also employed, mostly PRISMA on the n-rich side for quasi-elastic,
MNT, deep inelastic induced fission and other ancillary detectors for Feand Coulomb
Excitation with stable or p-rich nuclei. These were TRACE, HELENA, HECTOR, DANTE..
6

## Slide 7
AGATA Experiments at GANIL in 2015-2018
Shape transition in the neutron-rich W isotopes
Lifetime measurements of excited states in neutron-rich C and O isotopes
Octupole correlation in 207Pb
48Ca
132Sn
68Ni
78Ni
100Sn
208Pb
Evolution of the shell structure in the region of neutron-rich Ti isotopes
Evolution of collectivity around N=40: lifetime measurements in 73,75Ga
i13/2 single particle state in 133Sn and high spin in 108Zr
The lifetime of the 7.786 MeV state in 23Mg as a probe for classical novae models
Exploration of alpha-cluster: the unique case of 212Po (208Pb + α)
Transition Quadrupole Moments in 166,168Dy.
Shape evolution in neutron rich fission fragments in the mass A~100 region
Evolution of collectivity around N=40: lifetime measurements in 64Fe
Evolution of collectivity around N=52: lifetime measurements in 83,84Ge
Shell evolution around N=50: 81Ga spectroscopy
Evolution of collectivity around N=50: lifetime measurements 104,106Sn
Evolution of collectivity around N=50: lifetime measurements 94Ru
Studies of excited states in 102,103Sn
Search for isoscalar pairing in the N=Z nucleus 88Ru
Isospin Symmetry Breaking in the A=63,71 mirror nuclei
Octupole – Quadrupole correlation in 112Xe
Reaction mechanism : Fission of Light Hg
Search for Double Gamma decay in 137Cs source
21 experiments

## Slide 8
Chart: 
| 0 | 30 | 38 | 68 | 76 | 94 | 113 | 119 | 130 | 310 | 335 | 425 | 456 | 486 | 532 | 541 | 566 | 578 | 603 | 627 | 661 | 961 | 996 | 1015 | 1061 | 1095 | 1395 | 1415 | 1431 | 1456 | 1487 | 1530 | 1830 | 1844 | 1874 | 1874 | 2202 | 2219 | 2251 | 2281 | 2299 | 2329
 | 4.1 | 8.6 | 8.6 | 11.6 | 16 | 25 | 25 | 30 | 30 | 44 | 44 | 59 | 59 | 80 | 80 | 93 | 93 | 103 | 103 | 128 | 128 | 145 | 160 | 195 | 224 | 224 | 236 | 257 | 263.7 | 287.7 | 302.7 | 302.7 | 308.3 | 312.2 | 312.2 | 312.2 | 346.2 | 367.2 | 392.2 | 404.2 | 430.2
2015
2016
Cumulative [TB]
2014
2017
2017 r3
Without Traces…
AGATA performance [2015-2018]

## Slide 9: Scientific results: physics papers from LNL, GSI, GANIL
Pseudospin Symmetry and Microscopic Origin of Shape Coexistence in the 78Ni Region:
a Hint from Lifetime Measurements
C. Delafosse, et al.;
Phys. Rev. Lett. 121, 192502 (2018)
96Kr60–Low-Z boundary of the island of deformation at N=60
J. Dudouet, et al.;
Phys. Rev. Lett. 118, 162501 (2017)
Role of the Δ Resonance in the Population of a Four-Nucleon State in the 56Fe → 54Fe Reaction at Relativistic Energies
Zs. Podolyák, et al.;
Phys. Rev. Lett. 117, 222302 (2016)
Superdeformed and Triaxial States in 42Ca
K. Hadyńska, et al.,
Phys. Rev. Lett.117, 062501 (2016)
Isospin mixing in 80Zr: from finite to zero temperature
S. Ceruti, et al.;
Phys. Rev. Lett. 115, 222502 (2015)
Isospin character of low-lying pygmy dipole states in 208Pb via inelastic scattering of 17O ions
F.C.L. Crespi, et al.;
Phys. Rev. Lett. 113, 012501 (2014)
Pygmy Dipole Resonance in 124Sn populated by inelastic scattering of 17O
L. Pellegri, et al.;
Phys. Lett. B 738 (2014) 519
AGATA publications from experiments
Period 2011 - 2019
> 45 publications in peer reviewed journals (no proceedings)
https://www.agata.org/

## Slide 10: Scientific results: latest papers
Effects of one valence proton on seniority and angular momentum
of neutrons in neutron-rich 122–131Sb isotopes
S. Biswas, et al.;
Phys. Rev. C 99, 064302 (2019)
Identification of high-spin proton configurations in 136Ba and 137Ba
L. Kaya, et al.;
Phys. Rev. C 99, 014301 (2019)
Pseudospin Symmetry and Microscopic Origin of Shape Coexistence in the 78Ni Region:
a Hint from Lifetime Measurements
C. Delafosse, et al.;
Phys. Rev. Lett. 121, 192502 (2018)
Millisecond 23/2+ isomers in the N = 79 isotones 133Xe and 135Ba
L. Kaya, et al.;
Phys. Rev. C 98, 054312 (2018)
High-spin structure in the transitional nucleus 131Xe: Competitive neutron and proton alignment
in the vicinity of the N = 82 shell closure
L. Kaya, et al.;
Phys. Rev. C 98, 014309 (2018)
Transition probabilities in neutron-rich 80,82Se and the role of the ng9/2 orbital
J. Litzinger, et al.;
Phys. Rev. C 97, 044323 (2018)
Study of Isomeric States in 198,200,202,206Pb and 206Hg Populated in Fragmentation Reactions
N. Lalovic, et al.;
J. Phys. G: Nucl. Part. Phys. 45 035105 (2018)
Quadrupole collectivity in 42Ca from low-energy Coulomb excitation with AGATA
K. Hadynska-Klek, et al.;
Phys. Rev. C 97, 024326 (2018)
AGATA publications from experiments
Period 2018-19

## Slide 11: Scientific results: submitted papers
Isospin properties of nuclear pair correlations from the level structure of the self-conjugate nucleus 88Ru
B. Cederwall, et al.;
Phys. Rev. Lett. submitted
Lifetime measurements of the second 2+ state in neutron-rich 16C and 20O as a test of
ab initio nuclear structure
M. Ciemala, et al.;
Phys. Rev. Lett. submitted
Isomer spectroscopy in 133Ba and high-spin structure of 134Ba
L. Kaya, et al.;
Phys. Rev. C submitted
Isospin dependence of electromagnetic transition strengths among an isobaric triplet
A. Boso, et al.;
Phys. Lett. B submitted
Evidence of octupole-phonons in 207Pb
D. Ralet, et al.;
Phys. Lett. B submitted
First lifetime measurements of low-lying states in the neutron-deffcient 106,108Sn isotopes and
the pairing-quadrupole interplay in 102-114Sn
M. Siciliano, et al.:
Phys. Rev. Lett. submitted

## Slide 12: NuPECC Long Range Plan 2017
SUMMARY AND RECOMMENDATIONS
….
  Support to the completion of AGATA in full geometry
AGATA represents the state-of-the-art in g-ray
spectroscopy and is an essential precision tool
underpinning a broad programme of studies in
nuclear structure, nuclear astrophysics and nuclear
reactions. AGATA will be exploited at all of the
large-scale radioactive and stable beam facilities
and in the long-term must be fully completed in
full 60 detector unit geometry in order to realise
the envisaged scientific programme. AGATA will be
realised in phases with the goal of completing the
first phase with 20 units by 2020.
….

## Slide 13: AGATA physics case
MoU for AGATA 4p configuration has to be based on a strong, convincing physics case!
Five working groups are established to work on White Book
Chair of ACC W. Korten: coordination, major contributions
  AGATA@FAIR A. Jungclaus
  AGATA@GANIL Ch. Theisen
  AGATA@HIE-ISOLDE M. Zielinska
  AGATA@LNL/SPES S. Leoni
  AGATA@JYFL D. Jenkins
Close to final version circulates since spring 2019!
Status and discussion of the AGATA White Book tomorrow

## Slide 14: AGATA physics case
The Nuclear Shell Structure
and its Evolution
Light Exotic Nuclei and
Clusterisation Phenomena
Shape coexistence

## Slide 15: AGATA physics case
Higher-order nuclear deformation
Isospin Symmetry Studies

## Slide 16: AGATA physics case
High-Spin States,
Extreme Deformation and
Giant Collective Modes
Pygmy Resonance Excitations

## Slide 17: AGATA physics case
Spectroscopic Studies for
Nuclear Astrophysics
Very Heavy and Superheavy Elements

## Slide 18: Future host labs beyond 2020
FAIR
HIE-ISOLDE
SPIRAL/GANIL
SPES/LNL
JYFL
High-Intensity
Stable-Beam Facility
ISOL Facilities
In-Flight Facility
High-Intensity
Stable-Beam Facility
Reaccelerated RIBs:
Coulomb Excitation, Direct Reactions, MNT, Deep Inelastic, CN
Direct and inverse kinematics b ~ 10%
In-flight RIBs:
Relativistic Coulomb Excitation, Knock-out, Fragmentation …
Inverse kinematics b ~ 50%

## Slide 19: GANIL the actual host lab
Variety of setups
FATIMA-PARIS detectors coupled to AGATA in 2017
VAMOS
Plunger
Delayed g-ray spectroscopy
Fast-timing
PARIS, DSSD, FATIMA
2nd VAMOS arm
NEDA
MUGAST

## Slide 20: SPES a future host lab beyond 2020
SPES experiments with reaccelerated beams from ALPI projected for 2021
Stable beams are available before provided by LNL accelerator facility

## Slide 21: FAIR a future host lab beyond 2025

## Slide 22
Future AGATA campaigns
AGATA MoU
For the duration of this MoU the AGATA system is expected to be sited for at least 25% of its total operation time each at GANIL/SPIRAL2 (Caen, France), GSI/FAIR (Darmstadt, Germany), LNL/SPES (Legnaro, Italy).
The host collaborating institutions GANIL, GSI and LNL (hereinafter “Host” or “AGATA Host”) have agreed to host AGATA. AGATA will be an essential instrument for the future facilities FAIR, SPES and SPIRAL2.
Campaigns at any other host laboratory, in particular outside of the Collaborating Institutions, are subject to negotiations within the AGATA Steering Committee.

## Slide 23: HIE-ISOLDE a future host lab beyond 2020

## Slide 24: JYFL Accelerator Laboratory
Pelletron
ECR
K=130 MeV
*RADEF
Space
Microfilters
CLinac
RITU
IGISOL4
Medical
Reactions
MARA
K=30 MeV
Medical
Commercial applications
*RADiation Effects Facility

## Slide 25: Future host labs beyond 2020
AGATA steering committee inquired interest of various laboratories to host AGATA beyond. Letters from directors, (ISOLDE group leader, ISCC head) were received with following dates:
  GANIL now – 2020
  GANIL period 2021-2025
  LNL period 2023-2025
  JYFL period 2024-2026/27
  ISOLDE period 2 (May 2026 - November 2028) after LS3
  FAIR NUSTAR period after 2026/27
ASC discussed the various host labs in September 2018 .
ASC endorsed the idea to move from GANIL to LNL prior completion of SPES.
AGATA physics workshop in March 2019 to discuss physics with stable beams

## Slide 26: AGATA@LNL for stable beams

## Slide 27: AGATA@LNL

## Slide 28: AGATA@LNL

## Slide 29
Future AGATA campaigns
Letter to
Dear Dr. Navin Alahari and Prof. Diego Bettoni,
During its last meeting held on 27th March 2019, the AGATA Steering Committee (ASC) discussed the operation of AGATA from 2020-2023 and decided on the schedule for operation at GANIL and LNL during this period. …
Considering the availability of the 60 detector systems of AGATA the ASC agreed to move the AGATA spectrometer from GANIL to LNL in 2021 after the beam period ending in June 2021. This allows advanced independent preparation of the mechanics and infrastructure at LNL and thus a minimal downtime of AGATA during the transfer and reconfiguration of the spectrometer.
The ASC therefore formally approves the extension of operation of AGATA at GANIL to the end of June 2021 and the commencement of operation of the spectrometer at LNL in 2022. ….

## Slide 30: Memorandum of Understanding
I MoU
AGATA 15
Demonstrator
II MoU
AGATA 60
III MoU
AGATA 180 = 4p

## Slide 31: Advanced GAmma Tracking Array
180 hexagonal crystals 3 shapes
60 triple-clusters all equal
Inner radius (Ge) 23.5 cm
Amount of germanium 362 kg
Solid angle coverage 82 %
36-fold segmentation 6480 segments
Singles rate ~50 kHz
Efficiency: 43% (Mg=1) 28% (Mg=30)
Peak/Total: 58% (Mg=1) 49% (Mg=30)
Position resolution
Energy resolution
High energy efficiency
Polarization sensitivity
Resolving power
Count rate capability

## Slide 32: AGATA 4π (Advanced GAmma Tracking Array)
Sustainable growth of the AGATA subsystems from a configuration of 60 to 180 detectors.
Improving mobility and compatibility for the Hosting labs: FAIR/NUSTAR, GANIL/SPIRAL, LNL/SPES, HIE-ISOLDE, JYFL.
Full tracking performance and optimizing the position sensitivity.
Improving performance and compatibility of subsystems:
Detectors, FEBEE, DAQ, Infrastructure.
Upgrade of the already existing subsystems for the 60 detectors Phase 1.
Parts belong to the early AGATA Demonstrator Phase, more than 12 years old.

## Slide 33
Mechanical Infrastructures
STFC-Daresbury, GANIL, INFN-Milano, INFN-Padova

## Slide 34: Summary
Status AGATA:
  highly segmented HPGe detectors
  digitizer & front-end electronics
  pulse shape analysis & g-ray tracking
  position sensitive g-ray detection
  highly improved conditions for g-ray spectroscopy
Increased productivity of AGATA collaboration (funding applications, white book, technical and ‘physics’ papers, conference contributions, new developments)
Next MoU: 4p g-ray tracking for future RIB facilities
White book with convincing physics case
Next host lab: AGATA will move to LNL in 2021
Project definition

## Slide 35
AD
p
2p
3p
Angular correlation in Nominal position
Relative angle
60Co correlation
106 Random gg cascades
Next 8 triple beyond 1p could be placed on the top positions.
Next detectors at 90° for angular and polarization measurement
Beyond the 1p in G1 (2020-
From Lifetime to Angular correlations

## Slide 36: GANIL a future host lab beyond 2020
Perspectives of AGATA
- VAMOS & MUGAST 2019-2020
- SPIRAL1 beams (Coulex)
- VAMOS (Fission and MNT) 2021?
- VAMOS (SF of 250Cm) 2021?
- VAMOS (VAMOS-Gas-Filled)
- PARIS
- NEDA & DIAMANT

## Slide 37: SPES a future host lab beyond 2020
SPES Selective Production of Isotopes
AGATA will be a major instrument of SPES-b

## Slide 38: HIE-ISOLDE a future host lab beyond 2020

## Slide 39
FAIR
a future AGATA
host lab beyond 2020

## Slide 40: JUROGAM3 at MARA

## Slide 41: In-beam spectroscopy at JYFL
Two recoil separators: gas-filled RITU and vacuum-mode mass spectrometer MARA
Heavy ion beams from p to Au with intensities up to 100-200 pnA
Wide range of possibilities to study proton-drip line and heavy nuclei
Excellent track record in in-beam spectroscopy and maintenance of large arrays
Wide range of ancillary devices
Expertise in conversion electron spectroscopy
Typically 100 days of beam time per year dedicated to in-beam spectroscopy
Relatively large and dedicated in-house team

## Slide 42: Back up slides

## Slide 43: Ingredients of Gamma–Ray Tracking
Pulse Shape Analysis to decompose recorded waves
Highly segmented
HPGe detectors
·
·
Identified
interaction points
(x,y,z,E,t)i
Reconstruction of tracks
evaluating permutations
of interaction points
Digital electronics
to record and process segment signals
1
2
3
4
Reconstructed
g-rays
B4
B5
B3
C4
C5
C3
CORE
A4
A5
A3
measured calculated

## Slide 44
AGATA Triple Cryostat
- integration of 111 high resolution spectroscopy channels
- cold FET technology for all signals

## Slide 45
TRACKING
Control,
Storage…
EVENT BUILDER
PSA FARM
Core +
36 seg.
GL Trigger
Clock
100 MHz
T-Stamp
Other detectors
Fast 1st Level Trigger
interface to GTS, merge time-stamped data into event builder, prompt local trigger from digitisers
Detector Level
Other Detectors
Diff. Fast-reset-TOT
75.5db SNR 12.2 ENOB
GTS
DIGITIZER
PREAMPL.
ATCA Carrier
GTS
Global Level
DAQ-NARVAL RUN- & SLOW-Control
HIGH THROUGHTPUT PRE-PROCESSING CARRIER / MEZZANINES
Other detectors
INFN-MI/GANIL/KÖLN
IPHC/Liverpool/ STFC
IPNO/CSNSM/INFN-Pd
IPNO/CSNSM/ LNL/GANIL/IFJ-PAN
INFN-Pd
200MB/s/ segment
100MB/s/ detector
Digital electronics and DAQ

## Slide 46: Position resolution & Doppler effects
Example: 136Xe: 2+ → 0+ 1313 keV
No Doppler correction
Doppler correction for beam like Xe
Doppler correction needed for beam
and target like nuclei
Notes: The characterization procedure I developed were tested on a 12-fold segmented MINIBALL detector.
To characterize such crystal, one needs to know first of all how much mirror charge is induced in each of these
Electrodes when a unit of charge is placed at a specific point in the detector.
This information is provided by the Weighting potentials.
The weigting potential for “this” segment is show here for a true coaxial detector.
These potentials can be calculated as solution of the Laplace equation,
With the boundary conditions that they have to be 1 at “this” electrode and 0 at all the other electrodes.
How to calculate the Weighting potentials is well described in litterature, so I will not disscuss this further.

## Slide 47
Line shape high g-ray energy
First interaction points yield angular distributions:
E1 transition from the 1− state at 5.512 MeV
E2 transition from the 2+ state at 6.194 MeV
Escape lines are identified and
discriminated by g-ray tracking
F. Crespi, A. Bracco et al., Phys. Rev. Lett. 113,012501 (2014)
Notes: Centre: By gating on the scattered 17O and the TKEL -> peaks
in the region of GDR are pronounced. When the yields is extracted and
compared with gg’ and pp’, it is evident that different states respectively
in the isoscalar and isovector part of the GDR are selectively populated.

## Slide 48
Lifetime of the 6.79 MeV state in 15O
C. Michelagnoli, et al.,
New upper limit of < 0.5 fs on the lifetime of the 6.79 MeV state in 15O
Lower limit of the width of the state
G > 1.07 eV
0.1 fs
3.0 fs
0.1 fs
3.0 fs
14N(2H,n)15O and 14N(2H,p)15N reactions
inverse kinematics
Continuous DSAM lifetime measurement
Notes: 48
NB: L’ energia dei calcoli non e`la «nostra», DWBA e CC calc in progress...
Vita media messa nella simul = 1fs
a voce di che stimiamo che con questa cinematica ecc. la nostra sensibilita`e`di circa 4 fs (preliminare)
The g-ray energy emitted from a slowyng down nucleus changes accordingly
with the velocity. To fully exploit theDSAM method the nucleus
must appreciably slow down within a time interval comparable
with the intended lifetime. In the case of AGATA the energy data
can be sorted as a function
of a CONTINUOS theta angle shows up the quality of collected data.
48

## Slide 49
Partially-polarized 555.8-keV and 433.9-keV lines in 104Pd and 108Pd after Coulomb excitation.
AGATA modules as Compton Polarimeters
Analyzing power for g-ray linear polarization
Analyzing power: A = 0.48
GOSIA
P.G. Bizzeti et al., Eur. Phys. J. A (2015) 51: 49
Notes: We have investigated the ability of a cluster of three segmented Ge crystals (AGATA
module) to measure the linear polarization of gamma rays, exploiting the dependence of the Comp-
ton scattering differential cross section on the azimuthal angle.
To this aim, partially polarized emitted at about 90
degrees with respect to the beam direction have been
produced by Coulomb excitation of the first excited state of 104Pd and 108Pd
The analyzing power extracted, after some selection of the data was performed,
resulted in a really nice value, 0.48, in agreement with simulation

## Slide 50
Courtesy J. Dudouet
multi-nucleon transfer
fusion-fission
transfer-fission
The GANIL Campaign [2015-2020]
2017-2018 : 35 detectors on-line
Efficiencies @ 1.408 MeV
Core 3.4(1)% (GEANT4 = 3.6%)
AddBack 4.8(1)% (5.1%)
Coupled to VAMOS spectrometer
E. Clément et al.; NIM A 855, 1-12 (2017)
J. Dudouet, et al.; Phys. Rev. Lett. 118, 162501 (2017)

## Slide 51
Energy
PSA
p
a
three full digital systems
NUMEXO2 & AGATA GTS
Time of flight
PSA – Neural network
n
g
54 NEDA detectors at forward angles
14 NWALL detectors at 90 deg + plunger
~9% g-efficiency at 1.4 MeV after tracking
>20% efficiency for 1 neutron
>35% efficiency for 1 proton
NEDA & DIAMANT & AGATA & plunger
×20 increase in (ng²) event rate compared to NWALL-DIAMANT-EXOGAM system VME-VXI.
The GANIL Campaign [2018]

## Slide 52
T. Huyuk and the NEDA collaboration,
Eur. Phys. J. A (2016) 52: 55
Simulation
NEDA & AGATA: the 2n selectivity
58Ni(50Cr,2p2n)104Sn
ON-LINE
104Sn

## Slide 53
ON-LINE
104Sn
RISING @ GSI
Coulomb Excitation of 104Sn and the Strength of the 100Sn Shell Closure".
G. Guastalla, et al.; Phys. Rev. Lett.110 (2013), 172501.

## Slide 54
2+
1n2p
2n2p
2n2p 2+ gated
4+
5-
6+
8+
9-
7-
3- ?
e+e-
ON-LINE
Lifetime measurement 58Ni+58Ni at 250 MeV
D. Ralet, M. L. Jurado, E. Clement et al,
OUPS Plunger in degrader mode
J. Ljungvall et al, NIM A 679 (2012) 61.
s~100 mb
NEDA & AGATA & plunger

## Slide 55: Summary & Outlook
Status AGATA:
  highly segmented HPGe detectors
  digitizer & front-end electronics
  pulse shape analysis & g-ray tracking
  position sensitive g-ray detection
  highly improved conditions for g-ray spectroscopy
Physics campaigns at LNL, GSI, GANIL
White book, physics case
Project definition
Next MoU: 4p g-ray tracking array
Physics campaign at RIB facility

## Slide 56: Acknowledgements

## Slide 57: Back up slides

## Slide 58: Available AGATA Detectors
Chart: 
| 38596 | 38657 | 38687 | 38777 | 38869 | 38930 | 39022 | 39173 | 39234 | 39326 | 39326 | 39427 | 39427 | 39427 | 39434 | 39645 | 39780 | 39933 | 40022 | 40176 | 40415 | 40512 | 40512 | 40535 | 40644 | 40653 | 40680 | 40695 | 40731 | 40865 | 40975 | 41158 | 41821 | 41944 | 41971 | 42076 | 42214 | 42332 | 42450 | 42577 | 42699 | 42706 | 42774 | 42942 | 43012 | 43078 | 43159
Delivered | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Accepted | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
year

## Slide 59: Detectors
Chart: 
| 38596 | 38657 | 38687 | 38777 | 38869 | 38930 | 39022 | 39173 | 39234 | 39326 | 39326 | 39427 | 39427 | 39427 | 39434 | 39645 | 39780 | 39933 | 40022 | 40176 | 40415 | 40512 | 40512 | 40535 | 40644 | 40653 | 40680 | 40695 | 40731 | 40865 | 40975 | 41158 | 41821 | 41944 | 41971 | 42076 | 42214 | 42332 | 42450 | 42577 | 42699 | 42706 | 42774 | 42942 | 43012 | 43078 | 43159
Delivered | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Accepted | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Chart: 
| 38596 | 38657 | 38687 | 38777 | 38869 | 38930 | 39022 | 39173 | 39234 | 39326 | 39326 | 39427 | 39427 | 39427 | 39434 | 39645 | 39780 | 39933 | 40022 | 40176 | 40415 | 40512 | 40512 | 40535 | 40644 | 40653 | 40680 | 40695 | 40731 | 40865 | 40975 | 41158 | 41821 | 41944 | 41971 | 42076 | 42214 | 42332 | 42450 | 42577 | 42699 | 42706 | 42774 | 42942 | 43012 | 43078 | 43159
Delivered | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Accepted | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Chart: 
| 38596 | 38657 | 38687 | 38777 | 38869 | 38930 | 39022 | 39173 | 39234 | 39326 | 39326 | 39427 | 39427 | 39427 | 39434 | 39645 | 39780 | 39933 | 40022 | 40176 | 40415 | 40512 | 40512 | 40535 | 40644 | 40653 | 40680 | 40695 | 40731 | 40865 | 40975 | 41158 | 41821 | 41944 | 41971 | 42076 | 42214 | 42332 | 42450 | 42577 | 42699 | 42706 | 42774 | 42942 | 43012 | 43078 | 43159
Delivered | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Accepted | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Chart: 
| 38596 | 38657 | 38687 | 38777 | 38869 | 38930 | 39022 | 39173 | 39234 | 39326 | 39326 | 39427 | 39427 | 39427 | 39434 | 39645 | 39780 | 39933 | 40022 | 40176 | 40415 | 40512 | 40512 | 40535 | 40644 | 40653 | 40680 | 40695 | 40731 | 40865 | 40975 | 41158 | 41821 | 41944 | 41971 | 42076 | 42214 | 42332 | 42450 | 42577 | 42699 | 42706 | 42774 | 42942 | 43012 | 43078 | 43159
Delivered | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Accepted | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
2035
2055
2045
100
150
175
13 Detector deliveries 10.12.14-27.3.18
3.9 detectors/year
2p configuration in 11 years 2029
4p configuration in 34 years 2052

## Slide 60
Electron linac (Varian)
Electrons: 6,9,12,16 or 20 MeV
Brehmstrahlung X-rays 6 or 15 MeV
K130
Accelerating p to Au
E = Q2/A 130 MeV
Annual use: 6000-7500 h/year
Ion sources:
6.4 GHz ECRIS, 14 GHz ECRIS,
18 GHz ECRIS
Multicusp (H-, D-)
MCC30/15
H- 18-30 MeV
d- 9-15 MeV
Beam current 200/62 μA
New RF ion source
Users: IGISOL
Radioisotope prod.
Pelletron
H, He, Cl, Cu, Br, I, + other heavy ion beams;
0.2 – 20 MeV; 4 beam lines available
JYFL Accelerator Facilties

## Slide 61
Performance: Energy resolution
Segment labeling
@ 60 keV
@ 1333 keV
Averages of the segment resolutions
Measured in Cologne and Legnaro
@ 1333 keV :
IKP / Legnaro
A001: 2,19 keV / 2,00 keV
B002: 2,09 keV / 1,98 keV
C002: 2,1 keV / 1,94 keV
Averages of the segment resolutions
@ 60 keV :
A001: 1011 +/- 53 eV B002: 1039 +/- 70 eV C002: 965 +/- 63 eV

## Slide 62: Energy resolution & Cross talk
A. Wiens, et al.; Eur. Phys. J. A (2013) 49: 67 B. Bruyneel, et al.; Eur. Phys. J. A (2013) 49: 61

## Slide 63: Pulse shape analysis two examples
1 A 6 1 B 6 1 C 6 1 D 6 1 E 6 1 F 6 CC
Eg = 1172 keV net-charge in A1
Eg = 1332 keV net-charge in C4, E1, E3
x10
x10
Tomography of interactions in the crystal: non uniformities due to PSA

## Slide 64: Pulse Shape Analysis concept
Result of Grid Search Algorithm
B4
B5
B3
C4
C5
C3
CORE
A4
A5
A3
C4
D4
E4
F4
A4
B4
x
y
z = 46 mm
(10,25,46)
measured calculated
791 keV deposited in segment B4

## Slide 65: AGATA position resolution
Uncorrected Doppler-corrected (Ca)
Doppler-corrected (Pb)
- Line shape without BGO
- energy resolution DE = 4.9 KeV corresponds to Dx < 4 mm
1524,7 keV
2+ - 0+
42Ca@170MeV + 208Pb
Kinematical coincidences
Position sensitive MCP
AGATA position resolution
Dx FWHM Method
5.2 mm Doppler corr. meas. F. Recchia et al. NIM A (2009)
4.0 mm Doppler corr. meas P.-A. Söderström et al. NIM A (2011)
3.5 mm 511keV source meas. S. Klupp, M.Schlarb, R. Gernhäuser

## Slide 66
Line shape higher multiplicity events
Andreas Vogt, et al.; EPJA submitted

## Slide 67
E
5600
6000
6400
6800
7200
7600
θ [deg]
fusion-evaporation
nucleon-transfer
2H
14N
15O
n
2H
14N
16O
15O
n
175
169
163
157
151
15O
15N
source
15N
15O
Lifetime of the 6.792MeV state in 15O
AGATA DSAM line shape
14N(2H,n)15O and 14N(2H,p)15N reactions, inverse kinematics

## Slide 68: PreSPEC-AGATA Setup @ GSI
FRS
particle selection: Bρ-ΔE-Bρ
Particle identification:
TPC tracking detectors
ToF measurement
Energy-loss measurement
LYCCA
Outgoing particle tracking and identification:
Z identification via E-ΔE
Mass identification via E-ToF
Gamma-ray detection
AGATA with up to 23 crystals
pulse shape analysis and -ray tracking
BaF&LaBr scintillators (HECTOR+)
Picture from C. Domingo-Pardo et al., NIM A 694 297-312 (2012)

## Slide 69: Coulomb Excitation of 80Kr
FWHM 2%
Reminder: Doppler effect
80Kr
large Coulex cross section
no decay inside the target
Michael Reese, AG Pietralla IKP, TU Darmstadt

## Slide 70: Location of Gamma Emission
target
dsssd
tof
projectile
78Kr
80Kr
78Kr
Michael Reese, AG Pietralla IKP, TU Darmstadt

## Slide 71: Improved lifetime measurements
Fit to Doppler-broadened line shape as function of gamma-ray energy and detection angle for a relativistic emitter, i.e. an excited exotic ion from the FRS
Coulex and lifetime measurement of
excited state simultaneously!
136Xe 2+1 → 0+1
LNL-data, 546 MeV run
Fit-Function

## Slide 72: Acknowledgements

## Slide 73
PRISMA: Tracking Magnetic Spectrometer
MWPPAC X,Y & TF
MCP Start Det.: X,Y & TI
Ionisation Chamber E - E
6m TOF
Large acceptance  = 80 msr
Charge Z/Z  1/60
Mass A/A  1/230
Max. B = 1.2 Tm
Notes: The host site position was chosen to face the magnetic spectrometer PRISMA,
which, by a series of entrance and focal plane detector, is able
to fully discriminate in A,Z the incoming ion.

## Slide 74
14N(p,γ)15O reaction is slowest, determines the overall rate
Stellar burning rates and the 14N(p,γ)15O reaction
threshold
cross section (astrophysical S-factor) in Gamow peak region relies on sub-threshold resonances
corresponding to bound states in 15O
first excited 3/2+ state at 6.792 MeV in 15O plays dominant role
width of the resonance lifetime of the excited nuclear level
(C. Broggini et al., Annu. Rev. Nucl. Part. Sci. 2010. 60:53–73)

## Slide 75
E
5600
6000
6400
6800
7200
7600
θ [deg]
fusion-evaporation
nucleon-transfer
2H
14N
15O
n
2H
14N
16O
15O
n
175
169
163
157
151
15O
15N
source
15N
15O
Lifetime of the 6.792MeV state in 15O
AGATA DSAM line shape

## Slide 76
LIFETIME MEASUREMENT of 6.79 MeV in 15O
14N(2H,n)15O and 14N(2H,p)15N reactions @ 32 MeV
Direct lifetime measurement with 4 ATCs at backward
angles (close to the beam-line)
C. Michelagnoli et al., EPJ WoC, INPC 2013
Notes: 76
NB: L’ energia dei calcoli non e`la «nostra», DWBA e CC calc in progress...
Vita media messa nella simul = 1fs
a voce di che stimiamo che con questa cinematica ecc. la nostra sensibilita`e`di circa 4 fs (preliminare)
The g-ray energy emitted from a slowyng down nucleus changes accordingly
with the velocity. To fully exploit theDSAM method the nucleus
must appreciably slow down within a time interval comparable
with the intended lifetime. In the case of AGATA the energy data
can be sorted as a function
of a CONTINUOS theta angle shows up the quality of collected data.
76

## Slide 80
LOW ENERGY
HIGH ENERGY
Nuclear Structure information from low energy part of the electric dipole response
Low lying E1 strength & Pygmy dipole resonace
Pygmy Dipole Resonance
Giant Dipole Resonance
Inelastic scattering of 17O @ 20 MeV/u on different targets + -rays in coincidence
TWO EXPERIMENTS PERFORMED:
Studied Nuclei: 208Pb 90Zr
R. Nicolini (Università di Milano /INFN)
D.Mengoni (Università di Padova/INFN)
Studied nuclei: 208Pb, 124Sn,140Ce
M. Kmiecik (IFJ PAN Kraków) ,
F. Crespi (Univ. di Milano/INFN)
HECTOR+
High E.
Notes: One important open problem for pygmy states is the cross section sensitivity to transition densities containing the nuclear structure information. To explore this one needs high-resolution measurements and comparison of data obtained with different probes. In particular, nuclei with sizable neutron skin, such as the doubly magic 208Pb, are very interesting.
The γ decay from the pygmy states was measured in 208Pb using the inelastic scattering of 17O at 340 MeV. The emitted γ rays were detected with high resolution with the AGATA demonstrator array and the scattered ions were detected in two segmented ΔE-E silicon telescopes.
80

## Slide 81
Pygmy dipole states in 208Pb
208Pb(17O,17O’γ)
208Pb(p, p’)
208Pb(γ, γ’ )
High resolution measurement
A. Tamii et al., PRL 107, 062502 (2011)
This expoeriment
Different states are selectively populated in the isoscalar and isovector part of the GDR
Notes: Centre: By gating on the scattered 17O and the TKEL -> peaks
in the region of GDR are pronounced. When the yields is extracted and
compared with gg’ and pp’, it is evident that different states respectively
in the isoscalar and isovector part of the GDR are selectively populated.

## Slide 82
Differential cross sections for excitation of the 1- @ 4.842 MeV and @ 5.512 MeV
DWBA calculations with microscopic form factor for isoscalar E1 excitation
208Pb
Pygmy dipole states in 208Pb
F. Crespi, A. Bracco et al., Phys. Rev. Lett. 113,012501 (2014)
see also AGATA results on 124Sn
L. Pellegri, A. Bracco et al. Phys. Lett. B 738 (2014) 519-523
Theory: E. Lanza et al., Phys.Rev. C 84 (2011) 064602
Notes: The multipolarity of the observed gamma transitions was determined with remarkable sensitivity thanks to angular distribution measurements.
Cross sections and angular distributions of the ã rays and of the scattered particles were measured.
The data analysis with the distorted wave Born approximation approach gives a good description of the elastic scattering and of the inelastic excitation of the 2+ and 3− states.
A similar measurement was performed on 124Sn and the results were analysed using the DWBA approach.
For the 1− states a DWBA analysis based on a microscopically calculated form factor was performed and showed a sensitivity to the surface part of the transition density. Being the transition density dominated on the surface by the neutron component one can deduce that the pygmy states 124Sn are associated with the excitation of surface neutrons, mainly those in the neutron skin